## Slide 1
Controlling and Database
24 Battery Voltage Inputs
15 Site Alarms Inputs
GPS
24 Battery Temperature Inputs
3 MCB Controls (6 CT I / P’s for controls)
4 CT I / P’s
Fuel Level inputs
Room Temp / Humidity
Lock Open O/P
DG On / Off
Camera I/P
Dashboard and data display in prescribed format with reports outputs with SQL query generator and reports downloader on same.
Historical data analysis on inputs.
Full Features Main Working Version : 1

## Slide 3
Controlling and Database
1 temperature Sensor I/P
Body Temperature I/P
Gyroscope I/P
Heart Rate monitor I/P
2 Ultrasonic Sensors I / P’s
GPS I / P For Wheelchair
Device Interface with App with BLE
Real time data to be captured , Route mapping on Goole maps , Voice interactive App for Blind.
Blind / Old Age stick and Wheel chair